Zał. nr 4 do ZW 64/2012

FACULTY OF ELECTRONICS - SUBJECT CARD - Name in Polish Elektroniczna aparatura medyczna - Name in English Electronic instrumentation in medicine - Main field of study (if applicable): Electronics - Specialization (if applicable): Electronic Equipment (EAE) Level and form of studies: 1st level, full-time Kind of subject: obligatory Subject code ETES607 Group of courses NO

|  | Lecture | Classes | Laboratory | Project | Seminar |
| --- | --- | --- | --- | --- | --- |
| Number of hours of organized classes in University (ZZU) | 30 |  |  |  |  |
| Number of hours of total student workload (CNPS) | 60 |  |  |  |  |
| Form of crediting | Crediting with grade |  |  |  |  |
| For group of courses mark (X) final course |  |  |  |  |  |
| Number of ECTS points | 2 |  |  |  |  |
| including number of ECTS points for practical (P) classes | - |  |  |  |  |
| including number of ECTS points for direct teacher-student contact (BK) classes | 1 |  |  |  |  |

*delete as applicable

PREREQUISITES RELATING TO KNOWLEDGE, SKILLS AND OTHER COMPETENCES 1. K1EKA_W21 2. K1EKA_W23

\

SUBJECT OBJECTIVES C1. Acquiring knowledge in the field of electromedical equipment construction C2. Acquiring knowledge in the field of basic medical techniques C3. Acquiring knowledge on the structure and operation of diagnostic devices C4. Acquiring knowledge on the structure and operation of equipment for vital functions supporting and therapeutic devices C5. Acquiring knowledge in the field of basic application of medical informatics

- SUBJECT EDUCATIONAL EFFECTS relating to knowledge: PEK_W01 – formulates the principles of electromedical devices construction and describes their specificity PEK_W02 – describes the basic medical techniques PEK_W03 – explains the structure and operation of devices used for neuromuscular system diagnostics PEK_W04 – explains the structure and operation of devices used for cardiovascular system diagnostics PEK_W05 – explains the structure and operation of devices used for respiratory system diagnostics PEK_W06 – explains the structure and operation of devices used for heart and circulatory system supporting PEK_W07 – explains the structure and operation of devices used for respiratory system supporting PEK_W08 – explains the structure and operation of selected therapeutic devices PEK_W09 – specifies and describes the basic applications of informatics in medicine

| PROGRAMME CONTENT |  |  |
| --- | --- | --- |
| - Form of classes - lecture |  | - Number of hours |
| Lec1 | Introduction to the lecture. Safety of electromedical devices (EMD). | 2 |
| Lec2 | Specificity of EMD. Thermography. Ultrasounds techniques. | 2 |
| Lec3 | Optical techniques. Radiography. Tomography. | 2 |
| Lec4 | Structure and operation of the neuromuscular system. Evoked potentials. | 2 |
| Lec5 | Audiometry. EMG. Electromagnetic activity of the brain and heart. EEG, MEG. | 2 |
| Lec6 | VCG, ECG, MCG. Structure and operation of the circulatory system. | 2 |
| Lec7 | Measurement of blood pressure and flow. Diagnostics of arterial walls. | 2 |
| Lec8 | Circulatory system modelling. Pulse wave analysis. Phonocardiography. Gasometry. Structure and operation of the respiratory system. | 2 |
| Lec9 | Measurement of respiratory pressures and flows. Electrical equivalent models. Measurement of mechanical properties. | 2 |
| Lec10 | Examinations of lung function. Measurement of gas concentrations. Analytical apparatus. | 2 |
| Lec11 | Cardiostimulators, defibrillators. Circulatory system supporting. | 2 |
| Lec12 | Artificial heart and lung. Mechanical ventilators. Incubators. Dialysis machines. Drug-delivery systems. | 2 |
| Lec13 | Physiotherapy. Surgical devices. | 2 |
| Lec14 | Biomedical signals processing. Medical informatics. Telemedical systems. | 2 |
| Lec15 | Summing-up knowledge in the field of EMD | 2 |
|  | Total hours | 30 |

- TEACHING TOOLS USED

N1. Traditional lectures with the use of multimedia presentations N2. Conspectus available in the PDF format N3. Individual consultations N4. Own work – repetition of delivered material

EVALUATION OF SUBJECT EDUCATIONAL EFFECTS ACHIEVEMENT

| Evaluation (F – forming (during semester), P – concluding (at semester end) | Educational effect number | Way of evaluating educational effect achievement |
| --- | --- | --- |
| C | PEK_W01 - PEK_W09 | Final test |

PRIMARY AND SECONDARY LITERATURE

PRIMARY LITERATURE: - R. Tadeusiewicz, P. Augustyniak (red.): Podstawy inżynierii biomedycznej. Wydawnictwa AGH, Kraków 2009. - J. Doroszewski, R. Tarnecki, W. Zmysłowski (red.): Biosystemy. Akademicka Oficyna Wydawnicza EXIT, Warszawa 2005. - W. Torbicz, L. Filipczyński, R. Maniewski, M. Nałęcz, E. Stolarski (red.): Biopomiary. Akademicka Oficyna Wydawnicza EXIT, Warszawa 2001. - M. Darowski, T. Orłowski, A. Weryński, J.M. Wójcicki (red.): Sztuczne narządy. Akademicka Oficyna Wydawnicza EXIT, Warszawa 2001. - L. Chmielewski, J.L. Kulikowski, A. Nowakowski (red.): Obrazowanie biomedyczne. Akademicka Oficyna Wydawnicza EXIT, Warszawa 2003. - G. Pawlicki, T. Pałko, N. Golnik, B. Gwiazdowska, L. Królicki (red.): Fizyka medyczna. Akademicka Oficyna Wydawnicza EXIT, Warszawa 2002. - G. Pawlicki: Podstawy inżynierii medycznej. Oficyna Wydawnicza Politechniki Warszawskiej, Warszawa 1997. SECONDARY LITERATURE: - J.D. Bronzino (ed.): The Biomedical Engineering Handbook (vol. 1 & 2). CRC Press, Boca Raton 2000. - J.G. Webster (ed.): Bioinstrumentation. John Wiley & Sons, Hoboken 2004. - J.G. Webster (ed.): Medical Instrumentation: Application and Design. John Wiley & Sons, New York 1998.

SUBJECT SUPERVISOR (NAME AND SURNAME, E-MAIL ADDRESS)

Adam G. Polak, Ph.D., D.Sc., adam.polak@pwr.wroc.pl

- MATRIX OF CORRELATION BETWEEN EDUCATIONAL EFFECTS FOR SUBJECT

- Electronic instrumentation in medicine

- AND EDUCATIONAL EFFECTS FOR MAIN FIELD OF STUDY Electronics

- AND SPECIALIZATION Electronic Equipment (EAE)

| Subject educational effect | Correlation between subject educational effect and educational effects defined for main field of study and specialization (if applicable)** | Subject objectives*** | Programme content*** | Teaching tool number*** |
| --- | --- | --- | --- | --- |
| PEK_W01 | S1EAE_W11 | C1 | Wy1 | N1, N2 |
| PEK_W02 | S1EAE_W11 | C2 | Wy2, Wy3 | N1, N2 |
| PEK_W03 | S1EAE_W11 | C3 | Wy4, Wy5 | N1, N2 |
| PEK_W04 | S1EAE_W11 | C3 | Wy5-Wy8 | N1, N2 |
| PEK_W05 | S1EAE_W11 | C3 | Wy8-Wy10 | N1, N2 |
| PEK_W06 | S1EAE_W11 | C4 | Wy11, Wy12 | N1, N2 |
| PEK_W07 | S1EAE_W11 | C4 | Wy12 | N1, N2 |
| PEK_W08 | S1EAE_W11 | C4 | Wy13 | N1, N2 |
| PEK_W09 | S1EAE_W11 | C5 | Wy14 | N1, N2 |
| PEK_W01 - PEK_W09 | S1EAE_W11 | C1-C5 | Wy15 | N3, N4 |

** - enter symbols for main-field-of-study/specialization educational effects

*** - from table above