Zał. nr 4 do ZW 64/2012

FACULTY …Electronics - SUBJECT CARD - Name in Polish … Ultradźwiękowa aparatura pomiarowa i diagnostyczna 2 - Name in English … Ultrasonic measuring and diagnostic apparatus 2 - Main field of study (if applicable): Electronics - Specialization (if applicable): Acoustics Level and form of studies: 2nd level, full-time Kind of subject: obligatory Subject code: EKEU 902 Group of courses: NO

|  | Lecture | Classes | Laboratory | Project | Seminar |
| --- | --- | --- | --- | --- | --- |
| Number of hours of organized classes in University (ZZU) |  |  | 45 |  |  |
| Number of hours of total student workload (CNPS) |  |  | 60 |  |  |
| Form of crediting | Examination / crediting with grade* | Examination / crediting with grade* | Examination / crediting with grade* | Examination / crediting with grade* | Examination / crediting with grade* |
| For group of courses mark (X) final course |  |  |  |  |  |
| Number of ECTS points |  |  | 2 |  |  |
| including number of ECTS points for practical (P) classes |  |  | 2 |  |  |
| including number of ECTS points for direct teacher-student contact (BK) classes |  |  | 1.5 |  |  |

*delete as applicable

PREREQUISITES RELATING TO KNOWLEDGE, SKILLS AND OTHER COMPETENCES 1. K2EKA_W08 Describes how ultrasonic wave sees the structure of the medium and what are the possibilities of active and passive use of ultrasound in science, technology and medicine 2. S2EAK_W02 Lists and describes all physical phenomena used in active and passive ultrasonic applications in science, technology and medicine.

\

SUBJECT OBJECTIVES C1 Acquisition of knowledge related to the principles of operation of the ultrasonic apparatus for measuring non-electrical quantities and medical ultrasonic diagnostic equipment. C2 Acquisition of the ability to perform measurements of various parameters and physical quantities using ultrasonic measuring and diagnostic apparatus.

- SUBJECT EDUCATIONAL EFFECTS relating to skills: PEK_U01

| PROGRAMME CONTENT |  |  |
| --- | --- | --- |
| - Form of classes - lecture |  | - Number of hours |
| Lec 1 |  |  |
|  | Total hours |  |

| Form of classes - class |  | Number of hours |
| --- | --- | --- |
| Cl 1 |  |  |
|  | Total hours |  |

| Form of classes - laboratory |  | Number of hours |
| --- | --- | --- |
| Lab 1 | Initial term. Introduction to exercise. Requirements for receiving credit. Safety while exercising. | 3 |
| Lab 2 | Measurement of ultrasonic intensity in the water. | 3 |
| Lab 3 | Measurement of directivity characteristics of ultrasonic transducers working at different media. | 3 |
| Lab 4 | Flaw detection. Research models using longitudinal waves, transverse and surface. | 3 |
| Lab 5 | Ultrasonic thickness measurement components accessible from one side. | 3 |
| Lab 6 | Aerolocation. Ultrasonic distance meter. | 3 |
| Lab 7 | Determination of the boundaries between media of different acoustic impedances. Ultrasonofalography. | 3 |
| Lab 8 | Ultrasonic disintegrator. - lithotripsy using continuous wave. Ultrasonic inhaler | 3 |
| Lab 9 | Ultrasonography. The types of imaging. Study parameters of ulltrasonograph | 3 |
| Lab 10 | Ultrasonocardiography. Imaging type M (TM). Measuring amplitude of mitral heart. | 3 |
| Lab 11 | The ultrasonic Doppler flow velocity meter using the continuous wave. | 3 |
| Lab 12 | Ultrasonic Doppler velocity meter and flow profile of liquid using pulsed wave. | 3 |
| Lab 13 | Elements of ultrasound transmission tomography | 3 |
| Lab 14 | The term to catching up with one’s laboratory exercise | 3 |
| Lab 15 | The term to catching up with one’s laboratory exercise | 3 |
|  | Total hours | 45 |

| - Form of classes - project |  | - Number of hours |
| --- | --- | --- |
| Proj 1 |  |  |
| Proj 2 |  |  |
| Proj 3 |  |  |
| Proj 4 |  |  |
| … |  |  |
|  | Total hours |  |

| Form of classes - seminar |  | Number of hours |
| --- | --- | --- |
| Sem 1 |  |  |
| Sem 2 |  |  |
| Sem 3 |  |  |
| … |  |  |
|  | Total hours |  |

- TEACHING TOOLS USED

N1.Checking of knowledge before exercises N2. Own work during the course of training, consultations. N3. Registration of the measurement results, consultations.

EVALUATION OF SUBJECT EDUCATIONAL EFFECTS ACHIEVEMENT

| Evaluation (F – forming (during semester), P – concluding (at semester end) | Educational effect number | Way of evaluating educational effect achievement |
| --- | --- | --- |
| F1 | S2EAK_U09 | Assessment of reports of exercises |
| P = F1 |  |  |

PRIMARY AND SECONDARY LITERATURE

PRIMARY LITERATURE: - J. Golanowski, T.Gudra, Pomiarowe urządzenia ultradźwiękowe – ćwiczenia laboratoryjne, skrypt PWr. Wrocław 1991 - J. Golanowski, T.Gudra, Podstawy techniki ultradźwięków – ćwiczenia laboratoryjne, skrypt PWr. Wrocław 1990 [3] J. Obraz, Ultradźwięki w technice pomiarowej, WNT, Warszawa, 1983. [4] A. Lewińska-Romicka, Badania nieniszczące. Podstawy defektoskopii, WNT, 2001 [5] A Nowicki, Podstawy ultrasonografii dopplerowskiej, PWN, Warszawa, 1995 SECONDARY LITERATURE: - M. Berke, Nondestructive material testing with ultrasonics. Introduction to the basic principles, Krautkramer GmbH, Hurth, 1996. - A.Nowicki, Ultradźwięki w medycynie – wprowadzenie do współczesnej ultrasonografii, wydawnictwo IPPT PAN, Warszaw 2010 [3] A.Śliwiński, Ultradźwięki i ich zastosowania, WNT Warszawa, 2001

SUBJECT SUPERVISOR (NAME AND SURNAME, E-MAIL ADDRESS)

Dr hab. inż. Tadeusz Gudra,prof. PWr, Tadeusz.Gudra@pwr.wroc.pl

- MATRIX OF CORRELATION BETWEEN EDUCATIONAL EFFECTS FOR SUBJECT

- ……………………………

- AND EDUCATIONAL EFFECTS FOR MAIN FIELD OF STUDY ………………………..

- AND SPECIALIZATION ……………………………..

| Subject educational effect | Correlation between subject educational effect and educational effects defined for main field of study and specialization (if applicable)** | Subject objectives*** | Programme content*** | Teaching tool number*** |
| --- | --- | --- | --- | --- |
| PEK_W01 (knowledge) |  |  |  |  |
| PEK_W02 |  |  |  |  |
| … |  |  |  |  |
| … |  |  |  |  |
| PEK_U01 (skills) |  |  |  |  |
| PEK_U02 |  |  |  |  |
| … |  |  |  |  |
| PEK_K01 (competences) |  |  |  |  |
| PEK_K02 |  |  |  |  |
| … |  |  |  |  |

** - enter symbols for main-field-of-study/specialization educational effects

*** - from table above